This is the annual Consumer Confidence Report (CCR) for your drinking water system. In this report, you can find general information regarding water quality testing, health information, and specific information regarding the water quality in your water system.

Educational & Health Information

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

- Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operation, and wildlife.

- Inorganic contaminants, such as salts and metals, which can be naturally occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

- Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

- Organic chemical contaminants, including synthetic and volatile organic chemicals, which are byproducts of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, and septic systems.

- Radioactive contaminants, which can be naturally occurring or be the result of oil and gas production and mining activities.

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (1-800-426-4791).

In order to ensure that tap water is safe to drink, EPA prescribes regulations which limit the amount of certain contaminants in water provided by public water systems. Food and Drug Administration regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. Hiland Water Services is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at www.epa.gov/safewater/lead.

About Burlington Water District and 2023 Sampling Results

Burlington WD purchases water from the Portland Water Bureau (PWB) as a wholesaler. PWB primarily gets their water from Bull Run Reservoir and disinfects it with chlorine. The State of Oregon has completed the assessment plan for our which includes a map of where the water comes from, possible sources of contamination, and a review of the susceptibility of the source for contamination. This plan is available for public review.

We continually sample for many different chemicals and have found very little contamination. Contamination is anything other than pure water. We sample total coliform bacteria as an indicator of microorganisms that should not be present. The table below lists all the drinking water contaminants that we detected during the past calendar year or in our most recent tests as noted. Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the EPA's Safe Drinking Water Hotline (1-800-426-4791).

Please visit the State website for complete results at https://yourwater.oregon.gov/chems.php?pwsno=00644

| Regulated | MCLG | MCL | Our Water | Sample Date | Violation | Typical Source of Contaminant |
| --- | --- | --- | --- | --- | --- | --- |
| HAA5 (Total Haloacetic Acids) (ppb) | N/A | 60 | ND | 10/11/2023 | No | Byproduct of drinking water disinfection |
| TTHM (Total trihalomethanes) (ppb) | N/A | 80 | 11.6 | 10/11/2023 | No | Byproduct of drinking water disinfection |
| Copper (ppm) (90th percentile) | 1.3 | 1.3 | 0.168 | 8/6/2023-8/24/2023 | No | Corrosion of household plumbing systems; Erosion of natural deposits; Leaching from wood preservatives. |
| Lead (ppb) (90th percentile) | 15 | 15 | 7.7 | 8/6/2023-8/24/2023 | No | Corrosion of household plumbing systems; Erosion of natural deposits. |

Maximum Contaminant Level Goal (MCLG): The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety.

Maximum Contaminant Level (MCL): The highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

Action Level (AL): The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

Treatment Technique (TT): A required process intended to reduce the level of a contaminant in drinking water.

Maximum Residual Disinfectant Level (MRDL): The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

Maximum Residual Disinfectant Level Goal (MRDLG): The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contamination.

N/A: not applicable  ND: not detectable at testing limit

ppm: parts per million or milligrams per liter ppb: parts per billion or micrograms per liter  pCi/L: picocuries per liter (a measure of radiation)

Violations: We had no violations in 2023.

For information about Burlington Water District, or for board meeting times and dates, please visit www.burlingtonwater.specialdistrict.org

For additional information about Hiland Water Services, please visit our website at www.hilandwater.com or contact us via phone or email.

General Information & CCR Questions

Hiland Office – Compliance Department

PO Box 699

Newberg, OR 97132

Toll-free: 1-(855)-554-8333

Email: testing@hilandwater.com